## Manpower
FOLLWING CHANGES REQUIRED IN NEW O& M contract
Sr. No. | POSITION | REQUIRED MANPOWER | QUALIFICATION | REMARK
1 | SITE MANAGER | 1 | BE/B-TECH MIN 10 TO 15 YRS. EXP.+ BOE | Relevant Operation & Maintmexperience in CFB power plant.
2 | ADMIN | 1 | MIN 5 YRS EXP.
3 | SAFETY OFFICER | 1 | BE/B-TECH/DIPLOMA IN FIRE & SAFETY
4 | DCS ENGINEERS | 5 | BE/B-TECH/DME MIN 5 YRS EXP. | 3 nos. in shift 1 in reliver and 1 in 'G' shift
5 | MECHANICAL ENGINEER | 1 | BE/B-TECH MIN 5 YRS EXP. | Relevant experience in CFB & power plant Maintenance.
6 | INSTRUMENT ENGINEER | 1 | BE/B-TECH MIN 5 YRS EXP. | Relevant experience in CFB & power plant Maintenance.
7 | ELECTRICAL ENGINEER | 1 | BE/B-TECH MIN 5 YRS EXP. | Relevant experience in CFB & power plant Maintenance.
8 | FIRST CLASS BOILER OPERATORS- Field | 5 | DME/ITI WITH 1ST CLASS BOILER CERTIFIED | 3 in shift, 1 in Reliver & 1 in 'G' Shift
9 | STG (TURBINE) OPERATOR | 4 | DME/ITI MIN 5 YRS. EXP. | 3 in shift & 1 Reliver. Relevent experience in Back pressure Turbine.
10 | CHP/AHP OPERATOR | 7 | ITI MIN 5 YRS | 2 in each shift & 1 in Reliver.
11 | ELECTRIC TECHNICIAN | 5 | DEE MIN. 5 YRS EXP. PWD electrical wireman / supervisor license | 3 in shift, 1 in reliver & 1 in 'G' shift
12 | INSTSTRUMENT TECHNICIAN | 6 | DIPLOMA in instrument /ITI MIN. 5 YRS EXP. | 3 in shift, 1 in reliver & 2 in 'G' Shift for PM etc
13 | MECHANICAL FITTER | 8 | DME/ITI MIN. 5 YRS. EXP. | 3 in shift, 4 in G shift & 2 welder/ Rigger work.
14 | MECHANICAL WELDER/FITTER | 2 | ITI MIN. 5 YRS. EXP. | 2 in 'G' shift
15 | CHEMIST | 4 | BSC/MSC MIN 5 YRS. EXP. | checking of all water, coal and lime stone analysis 1 in each shift .
16 | CASUALS LABOUR | 25 | NA | 15 nos. in shift , 5 nos. relivers & 5 nos. for lime stone, bed material unloading.
| TOTAL | 77

## Changes with Existing Contract
MANPOWER REQUIREMENT
SR. NO. | ELECTRICAL DEPARTMENT
1 | One Electrical engineer having min 5 year experience for Maintaining CFB & power plant.
2 | ELECTRICAL TECHNICIAN DEE Min 5 years , 5 Nos ( 3 in shift 1 G shift & 1 leave reliver)
3 | All Electrical man power shall be having min PWD electrical wireman / supervisor license
4 | Electrical contractor licences should be present.
MECHANICAL DEPARTMENT
5 | One Mechanical engineer-B.Tech/B.E having min 5-year experience for Maintaining CFB & power plant.
6 | Mechanical Technician/Welder/Rigger -ITI /DME Min 5 years’ Experience in handling of CHP & AHP & rotating equipment’s.- 9 Nos ( 3 in shift 4 in G shift & 1 W/O & 1 leave reliver)
7 | All consumables should in Contractor scope like welding rod, Oxygen & DA cylinder.- Monthly consumption- Extra than this will be bared by MAL | Quantity
Welding rod (6013)- 5-10 pkts depending on job. Welding rod (7018)- 2-3 pkts. Welding rod (308/309)- 3-5 pkts. Grinding/cutting wheel AG-5/AG-7 – 100 each. Oxygen cylinder- 3 nos. DA cyllinder-2 nos.
8 | Following scope to be deleted in new contract 1. Insulation job 2. Refractory job. 3. Major overhauling of STG. 4. Balancing of all fans & blowers. 5. Crusher hammer replacement job.
INSTRUMENTATION DEPARTMENT
9 | Based on site experience, there is a requirement of 6 Instrument technicians i.e., no. of Instrument technician need to be increase from 4 to 6 (Already, vendor is managing the site in this manner). The qualified Instrument technician to be called on at short notice is getting challenge for vendor, this adding stress to remaining manpower, hence additional 2 will be a replacement within the technician for that period as well as to cover illness and necessary time off. Also, additional technicians can give benefit to strengthen the Preventive Maintenance activity in CFB and STG plant.
10 | Safety permits signing as a permitte should be a contractor scope.
11 | Long leaves (more than 3 days) should be covered in planned manner i.e substitute should be available at site 3 days before leave start date and short duration (less than 3days) leaves due to unforeseen issues should be managed by existing manpower with extended working hours complying to labor law. - Penalty clause to be imposed-Mutually aggred
12 | Vendor should submit leave back up plan to avoid overstay of persons as well before Six days of working schedule.
13 | Vendor should submit the shortlisted Resume for Key person of all before deputing of candidate. MAL engineer will assess him & after finding suitability he will be allowed to depute at site for the designated job. MAL has right to reject any of the workmen if found not performing as per requirement.
OPERATION (PROCESS) DEPARTMENT
14 | O & M station manager should have relevant experience/responsible for operation & maintenance of Boiler, STG & auxiliary + he shouls be Boiler operation engineer
15 | Separate CL for limestone & bed material unloading. (In shutdown/breakdown period it gets delay to unload)- Bed material quantity 500 Ton PER MONTH
16 | To submit Indirect efficiency of boiler every month alongwith monthly report to be submitted by 5 th of every month
17 | Improvement/cost saving points should submit in monthly report.
18 | If plant trips due to O& M- Boiler or STG- A heavy penalty clause of Rs. 2.0- 5.0 lack per incident to be added in new PO depending upon downtime
19 | All other penalty clause should remain same & Same present KPI to be added in new PO
20 | All lifting tools tackles should be certified by competent authority
21 | Daily manpower reeport,plant round report,PM monthly checklist to be submitted by 5 th of every month
22 | All First class boiler attendant certificates should be endrosed from Maharashtra boiler authority to work in Maharashtra

## KPI
KPI IN NEW PO FOR VARIABLE PAY
S.NO. | NAME OF KPI | UOM | QUALIFYING FOR PAYMENT | WEIGHTAGE | UOM (%) | MONTHLY PAYOUT OF VARIABLE COST
1 | Availbility of all eqiupment & Plant- CFB, STG | % Availbility | For 100% Payment | 30% | 91-100 | 100%Payout
[5 empty] | 86-90 | 90%Payout
[5 empty] | 80-85 | 50%Payout
[5 empty] | Below 80 | No Payment
2 | PM & CBM Compliance | % Compliance | For 100% Payment | 15% | 91-100 | 100%Payout
[5 empty] | 86-90 | 90%Payout
[5 empty] | 80-85 | 80%Payout
[5 empty] | Below 80 | No Payment
3 | Miantaining Loss of Ignition of Boiler at ESP outlet | % Max | 5% As per monthly average report of Lab. | 15% | 0-5 % | 100%Payout
[5 empty] | 5-7 % | 90%Payout
[5 empty] | 7-8 % | 80%Payout
[5 empty] | Above 8 % | No Payment
4 | All Statutory Complinces for operation of Boiler | % Compliance | for 100% Payment | 40% | 91-100 | 100%Payout
| a)Boiler operator & Boiler,Endorsement in Maharashtra |  |  |  | 86-90 | 90%Payout
| b)Tools tackles varification- lifting |  |  |  | 80-85 | 50 %Payout
| c)Electirical licnese for workmen d) Elect contract licence |  |  |  | Below 80 | No Payment
|  |  | Total | 100%